## All Reports
report_number | date_received | date_of_event | event_type | report_source_code | brand_name | generic_name | manufacturer_d_name | model_number | catalog_number | device_class | event_description | manufacturer_narrative | adverse_event_flag | product_problem_flag | device_operator | manufacturer_g1_name
2210968-2016-08887 | 2016-05-12 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | ETHICON INC. | UNK | UNK |  | (B)(4). CONCLUSION: TO DATE, THE DEVICE HAS NOT BEEN RETURNED. IF THE PRODUCT IS RETURNED FOR EVALUATION, ANY FURTHER INFO DERIVED FROM THE EVALUATION WILL BE SUBMITTED IN A SUPPLEMENTAL 3500A FORM. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09248 | 2016-05-25 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | ETHICON INC. | UNK | UNK |  | (B)(4). ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE DATE AND NAME OF INITIAL SURGICAL PROCEDURE WHEN THE PHYSIOMESH WAS IMPLANTED? DATE AND NAME OF SURGICAL PROCEDURE IN WHICH THE ADHESIONS WERE FOUND? THE DIAGNOSIS AND INDICATION FOR THE INITIAL SURGICAL PROCEDURE WHERE PHYSIOMESH WAS USED? THE DIAGNOSIS AND INDICATION FOR THE SURGICAL PROCEDURE IN WHICH THE ADHESIONS WERE FOUND? WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INITIAL SURGICAL PROCEDURE? ONSET DATE? PRODUCT CODE AND LOT NUMBER? WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? WHAT IS THE PATIENT¿S CURRENT STATUS? WHAT WAS INITIAL SURGICAL APPROACH (OPEN, LAPAROSCOPIC OR OTHER)? ANY CONCURRENT SURGERIES OR PROCEDURES WITH THE PHYSIOMESH? WERE PRE-EXISTING ADHESIONS NOTED DURING THE INITIAL PROCEDURE? WHAT WERE THE PATIENT¿S SYMPTOMS? LOCATION AND SEVERITY OF THE ADHESIONS? THE RELATIONSHIP OF ADHESION TO DEVICE IMPLANTED? ARE ANY PHOTOS AVAILABLE? TO DATE, THE DEVICE HAS NOT BEEN RETURNED. IF THE PRODUCT IS RETURNED FOR EVALUATION, ANY FURTHER INFO DERIVED FROM THE EVALUATION WILL BE SUBMITTED IN A SUPPLEMENTAL 3500A FORM. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09247 | 2016-05-25 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | ETHICON INC. | UNK | UNK |  | (B)(4). ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE. DATE AND NAME OF INITIAL SURGICAL PROCEDURE? THE DIAGNOSIS AND INDICATION FOR THE INITIAL SURGICAL PROCEDURE? WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INITIAL SURGICAL PROCEDURE? ONSET DATE? PRODUCT CODE AND LOT NUMBER? WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? WHAT IS THE PATIENT¿S CURRENT STATUS? WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? WHAT WAS THE DEFECT SIZE/TYPE/LOCATION OF THE HERNIA ASSOCIATED WITH THIS EVENT? MESH SIZE AND OVERLAP? WAS THE PROCEDURE ASSOCIATED WITH THIS EVENT OPEN OR LAPAROSCOPIC? IF APPLICABLE IN WHAT TISSUE LAYER DID YOU PLACE THE MESH? (ONLAY, RETRO-MUSCULAR, EXTRA PERITONEAL OR INTRA-ABDOMINAL). IF APPLICABLE, CLOSURE OF THE DEFECT (YES OR NO), USE OF STAY SUTURES (HOW MANY), PERMANENT OR ABSORBABLE? IF APPLICABLE, THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS). WERE THERE ANY SURGICAL INSTRUMENTS USED IN THE PLACEMENT OF THE MESH THAT MIGHT HAVE DAMAGED THE MESH? E.G. GRASPERS CRIMPING THE MESH FIBERS. HOW MUCH TIME FROM INITIAL HERNIA REPAIR TO HERNIA RECURRENCE? WAS THERE ANY TRIGGERING EVENT PRIOR TO PRESENT RECURRENCE? (E.G. WEIGHT GAIN, SNEEZING, COUGHING, STRENUOUS ACTIVITY)? HOW WAS THE RECURRENCE DIAGNOSED? DATE OF REOPERATION? MESH LOCATION AND INTEGRITY. WAS ANY DEFICIENCY OR ANOMALY OF THE MESH? IF YES, PLEASE DESCRIBE IT. ARE THERE ANY PICTURES AVAILABLE? TO DATE, THE DEVICE HAS NOT BEEN RETURNED. IF THE PRODUCT IS RETURNED FOR EVALUATION, ANY FURTHER INFO DERIVED FROM THE EVALUATION WILL BE SUBMITTED IN A SUPPLEMENTAL 3500A FORM. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09246 | 2016-05-25 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | ETHICON INC. | UNK | UNK |  | (B)(4). TO DATE, THE DEVICE HAS NOT BEEN RETURNED. IF THE PRODUCT IS RETURNED FOR EVALUATION, ANY FURTHER INFO DERIVED FROM THE EVALUATION WILL BE SUBMITTED IN A SUPPLEMENTAL 3500A FORM. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09289 | 2016-05-27 | 20160511 | Malfunction | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | THE ACTUAL SEMI-OPENED FOIL PACKAGE PRESENTED A Z-SHAPED TEAR. HOWEVER, THE CAUSE, WHEN AND / OR HOW THE DAMAGE OF THE FOIL PACKAGE OCCURRED, COULD NOT BE DETERMINED. IT APPEARED THE TEAR HAD BEEN EXTERNALLY CAUSED BY A SHARP OBJECT. NO FURTHER DAMAGES WERE VISIBLE AT THE FOIL PACKAGE. MESH DEVICE WAS FOUND TO BE INTACT AND SHOWED NO SIGNS OF DEGRADATION. AS THE CARDBOARD ENVELOPE (OUTER PACKAGE OF THE FOIL) WAS NOT RETURNED NO FURTHER EVALUATION COULD BE PERFORMED. |  | N | Y | HEALTH PROFESSIONAL
2210968-2016-09593 | 2016-06-08 | 20160316 | Injury | Manufacturer report | PHYSIOMESH RECTANGULAR | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1515Q |  | (B)(4). DATE SENT TO THE FDA: 06/08/2016. (B)(4). ATTEMPTS HAVE BEEN MADE TO RETRIEVE THE DEVICE. TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09701 | 2016-06-10 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | ETHICON INC. | UNK | UNK |  | (B)(4). ATTEMPTS HAVE BEEN MADE TO RETRIEVE THE DEVICE. TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. (B)(4). |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09706 | 2016-06-10 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | ETHICON INC. | UNK | UNK |  | (B)(4). ATTEMPTS HAVE BEEN MADE TO RETRIEVE THE DEVICE. TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09764 | 2016-06-14 | 20160317 | Injury | Manufacturer report | PHYSIOMESH RECTANGULAR | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1515Q |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. ATTEMPT IS BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09776 | 2016-06-15 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | ETHICON INC. | UNK | UNK |  | (B)(4). TO DATE, THE DEVICE HAS NOT BEEN RETURNED. IF THE PRODUCT IS RETURNED FOR EVALUATION, ANY FURTHER INFORMATION DERIVED FROM THE EVALUATION WILL BE SUBMITTED IN A SUPPLEMENTAL 3500A FORM. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09939 | 2016-06-22 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | (B)(4). IN ADDITION, A REVIEW OF THE BATCH MANUFACTURING RECORDS WAS CONDUCTED AND THE BATCH MET ALL FINISHED GOODS RELEASE CRITERIA. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09941 | 2016-06-22 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: THE PATIENT WAS FEMALE AND (B)(6) YEARS OLD. SHE CAME TO THE HOSPITAL BECAUSE SHE FELT UNCOMFORTABLE FEELING ON (B)(6) 2016. IN (B)(6) 2016, THE RECURRENCE WAS DIAGNOSED BY CT SCAN. THE DOCTOR SUGGESTED THE PATIENT TO BE RE-OPERATED. THE DOCTOR PLANS THE RE-OPERATION IN THE END OF AUGUST OR THE BEGINNING OF (B)(6). |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09942 | 2016-06-22 | 20160531 | Injury | Manufacturer report | PHYSIOMESH RECTANGULAR | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY2030R |  | ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE---NO INFORMATION. OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS? ---NO INFORMATION. PRODUCT LOT NUMBER? ---PHY2030R, JB8CKPB0 OR JA8DWTB0. WHAT IS PHYSICIAN'S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? ---THE DOCTOR SAID THE TACKING AND SUTURING MIGHT BE NOT ENOUGH. WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? ---NO INFORMATION. LOCATION AND CHARACTER OF PAIN? ---ABDOMEN. WAS ANY MEDICAL OR SURGICAL INTERVENTION PROVIDED FOR THE PAIN? --- NO INFORMATION. HOW WAS THE RECURRENCE DIAGNOSED? ---ABDOMINAL PAIN. WAS ANY MEDICAL/SURGICAL INTERVENTION PERFORMED FOR THE RECURRENCE? IF SO, PLEASE PROVIDE DATE(S) AND RESULTS. ---NO, THE PATIENT CHANGED THE HOSPITAL. WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? ---ON PRIMARY. WHAT WAS THE DEFECT SIZE/TYPE/LOCATION OF THE HERNIA ASSOCIATED WITH THIS EVENT? ---THE HERNIA SIZE IS ABOUT 11CM AND 15CM. MESH SIZE AND OVERLAP? ---THE OVERLAP IS ABOUT OVER 3CM. IN WHAT TISSUE LAYER DID YOU PLACE THE MESH? (ONLAY, RETRO-MUSCULAR, EXTRA PERITONEAL OR INTRA ABDOMINAL) ---INTRA ABDOMINAL. IF APPLICABLE, CLOSURE OF THE DEFECT (YES OR NO), USE OF STAY SUTURES (HOW MANY), PERMANENT OR ABSORBABLE? ---NO INFORMATION. IF APPLICABLE, THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS) ---NO INFORMATION. WERE THERE ANY SURGICAL INSTRUMENTS USED IN THE PLACEMENT OF THE MESH THAT MIGHT HAVE DAMAGED THE MESH? E.G. GRASPERS CRIMPING THE MESH FIBERS---THE MESH WAS PLACED WITH SECURESTRAP AND SUTURING AFTER SUTURING HERNIA GATE. THE DOCTOR SAID TACKING POINTS AND SUTURING POINTS MIGHT BE NOT ENOUGH. HOW MUCH TIME FROM INITIAL HERNIA REPAIR TO HERNIA RECURRENCE? --- ABOUT 10 MONTHS. WAS THERE ANY TRIGGERING EVENT PRIOR TO PRESENT RECURRENCE? (E.G. WEIGHT GAIN, SNEEZING, COUGHING, STRENUOUS ACTIVITY)? --- NO INFORMATION. WHAT IS THE PATIENT'S CURRENT STATUS? ---NO INFORMATION BECAUSE THE PATIENT CHANGED THE HOSPITAL. THE ACTUAL DEVICE BATCH NUMBER ASSOCIATED WITH THIS EVENT IS NOT KNOWN. THREE POSSIBLE BATCH NUMBERS ARE REPORTED AS FOLLOWS: BATCH JB8CKPB0 MFG DATE: 02/01/2015, EXP DATE: 01/31/2017; BATCH JA8DWTB0 MFG DATE:01/01/2015, EXP DATE: 12/31/2016. IN ADDITION, A REVIEW OF THE BATCH MANUFACTURING RECORDS WAS CONDUCTED AND EACH BATCH MET ALL FINISHED GOODS RELEASE CRITERIA. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09962 | 2016-06-23 | 20160609 | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | ETHICON INC. | UNK | UNK |  | (B)(4) DATE SENT TO FDA: 06/23/2016. (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE DATE AND NAME OF INDEX SURGICAL PROCEDURE WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS PRODUCT CODE AND LOT NUMBER? WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT WHAT IS THE PATIENT¿S CURRENT STATUS? WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? WHAT WAS THE DEFECT SIZE/TYPE/LOCATION OF THE HERNIA ASSOCIATED WITH THIS EVENT? MESH SIZE AND OVERLAP? IN WHAT TISSUE LAYER DID YOU PLACE THE MESH? (ONLAY, RETRO-MUSCULAR, EXTRA PERITONEAL OR INTRA-ABDOMINAL) IF APPLICABLE, CLOSURE OF THE DEFECT (YES OR NO), USE OF STAY SUTURES (HOW MANY), PERMANENT OR ABSORBABLE? IF APPLICABLE, THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS) HOW MUCH TIME FROM INITIAL HERNIA REPAIR TO HERNIA RECURRENCE? WAS THERE ANY TRIGGERING EVENT PRIOR TO PRESENT RECURRENCE? (E.G. WEIGHT GAIN, SNEEZING, COUGHING, STRENUOUS ACTIVITY)? HOW WAS THE RECURRENCE DIAGNOSED? WAS ANY MEDICAL OR SURGICAL INTERVENTION PROVIDED? PLEASE EXPLAIN WITH DATES AND RESULTS. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09961 | 2016-06-23 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. ATTEMPT IS BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS? DATE OF INITIAL SURGICAL PROCEDURE? PRODUCT LOT NUMBER? WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? WHAT WAS THE DEFECT SIZE/TYPE/LOCATION OF THE HERNIA ASSOCIATED WITH THIS EVENT? MESH SIZE AND OVERLAP? IN WHAT TISSUE LAYER DID YOU PLACE THE MESH? (ONLAY, RETRO-MUSCULAR, EXTRA PERITONEAL OR INTRA ABDOMINAL). IF APPLICABLE, THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS). WERE THERE ANY SURGICAL INSTRUMENTS USED IN THE PLACEMENT OF THE MESH THAT MIGHT HAVE DAMAGED THE MESH? E.G. GRASPERS CRIMPING THE MESH FIBERS. WAS THERE ANY TRIGGERING EVENT PRIOR TO PRESENT RECURRENCE? (E.G. WEIGHT GAIN, SNEEZING, COUGHING, STRENUOUS ACTIVITY)? HOW MUCH TIME FROM INITIAL HERNIA REPAIR TO HERNIA RECURRENCE? WAS ANY MEDICAL OR SURGICAL INTERVENTION PERFORMED? IF SO, PLEASE PROVIDE DATE(S) AND RESULTS. WHAT IS THE PATIENT¿S CURRENT STATUS? |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09964 | 2016-06-23 | 20151210 | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1520V |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS. PRODUCT CODE AND LOT NUMBER? WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? WHAT WAS THE DEFECT SIZE/TYPE/LOCATION OF THE HERNIA ASSOCIATED WITH THIS EVENT? MESH SIZE AND OVERLAP? WAS THE INITIAL SURGICAL PROCEDURE LAPAROSCOPIC OR OPEN? IN WHAT TISSUE LAYER DID YOU PLACE THE MESH? (ONLAY, RETRO-MUSCULAR, EXTRA PERITONEAL OR INTRA-ABDOMINAL) IF APPLICABLE, CLOSURE OF THE DEFECT (YES OR NO), USE OF STAY SUTURES (HOW MANY), PERMANENT OR ABSORBABLE? IF APPLICABLE, THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS). WAS THERE ANY TRIGGERING EVENT PRIOR TO PRESENT RECURRENCE? (E.G. WEIGHT GAIN, SNEEZING, COUGHING, STRENUOUS ACTIVITY)? HOW WAS THE RECURRENCE DIAGNOSED? WHAT IS THE PATIENT¿S CURRENT STATUS? HAS MEDICAL OR SURGICAL INTERVENTION BEEN PROVIDED OR SCHEDULED? PLEASE PROVIDE DATES AND RESULTS. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09975 | 2016-06-23 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1520V |  | (B)(4). DATE SENT TO THE FDA: 06/23/2016. RECURRENT HERNIA OCCURRED. IN ADDITION, A REVIEW OF THE BATCH MANUFACTURING RECORDS WAS CONDUCTED AND THE BATCH MET ALL FINISHED GOODS RELEASE CRITERIA. TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. ATTEMPT IS BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS? DATE OF INITIAL SURGICAL PROCEDURE? PRODUCT LOT NUMBER? WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? WHAT WAS THE DEFECT SIZE/TYPE/LOCATION OF THE HERNIA ASSOCIATED WITH THIS EVENT? MESH SIZE AND OVERLAP? IN WHAT TISSUE LAYER DID YOU PLACE THE MESH? (ONLAY, RETRO-MUSCULAR, EXTRA PERITONEAL OR INTRA ABDOMINAL) IF APPLICABLE, THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS) WERE THERE ANY SURGICAL INSTRUMENTS USED IN THE PLACEMENT OF THE MESH THAT MIGHT HAVE DAMAGED THE MESH? E.G. GRASPERS CRIMPING THE MESH FIBERS WAS THERE ANY TRIGGERING EVENT PRIOR TO PRESENT RECURRENCE? (E.G. WEIGHT GAIN, SNEEZING, COUGHING, STRENUOUS ACTIVITY)? HOW MUCH TIME FROM INITIAL HERNIA REPAIR TO HERNIA RECURRENCE? WAS ANY MEDICAL OR SURGICAL INTERVENTION PERFORMED? IF SO, PLEASE PROVIDE DATE(S) AND RESULTS. WHAT IS THE PATIENT¿S CURRENT STATUS? |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09978 | 2016-06-23 | 20150216 | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09979 | 2016-06-23 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY2025V |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10005 | 2016-06-24 | 20160606 | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. ATTEMPT IS BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS? DATE OF INITIAL SURGICAL PROCEDURE? PRODUCT CODE AND LOT NUMBER? WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? WHAT WAS THE DEFECT SIZE/TYPE/LOCATION OF THE HERNIA ASSOCIATED WITH THIS EVENT? MESH SIZE AND OVERLAP? WAS THE PROCEDURE ASSOCIATED WITH THIS EVENT OPEN OR LAPAROSCOPIC? IN WHAT TISSUE LAYER DID YOU PLACE THE MESH? (ONLAY, RETRO-MUSCULAR, EXTRA PERITONEAL OR INTRA ABDOMINAL) IF APPLICABLE, THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS) WERE THERE ANY SURGICAL INSTRUMENTS USED IN THE PLACEMENT OF THE MESH THAT MIGHT HAVE DAMAGED THE MESH? E.G. GRASPERS CRIMPING THE MESH FIBERS WAS THERE ANY TRIGGERING EVENT PRIOR TO PRESENT RECURRENCE? (E.G. WEIGHT GAIN, SNEEZING, COUGHING, STRENUOUS ACTIVITY)? DATE AND RESULTS OF MESH REMOVAL? WHAT IS THE PATIENT¿S CURRENT STATUS? |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09957 | 2016-06-27 | 20160307 | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1520V |  | (B)(4) DATE SENT TO THE FDA: 06/27/2016. (B)(4). IN ADDITION, A REVIEW OF THE BATCH MANUFACTURING RECORDS WAS CONDUCTED AND THE BATCH MET ALL FINISHED GOODS RELEASE CRITERIA. TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. ATTEMPT IS BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS? DATE OF INITIAL SURGICAL PROCEDURE? PRODUCT LOT NUMBER? WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? WHAT WAS THE DEFECT SIZE/TYPE/LOCATION OF THE HERNIA ASSOCIATED WITH THIS EVENT? MESH SIZE AND OVERLAP? IN WHAT TISSUE LAYER DID YOU PLACE THE MESH? (ONLAY, RETRO-MUSCULAR, EXTRA PERITONEAL OR INTRA ABDOMINAL) IF APPLICABLE, THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS) WERE THERE ANY SURGICAL INSTRUMENTS USED IN THE PLACEMENT OF THE MESH THAT MIGHT HAVE DAMAGED THE MESH? E.G. GRASPERS CRIMPING THE MESH FIBERS WAS THERE ANY TRIGGERING EVENT PRIOR TO PRESENT RECURRENCE? (E.G. WEIGHT GAIN, SNEEZING, COUGHING, STRENUOUS ACTIVITY)? HOW MUCH TIME FROM INITIAL HERNIA REPAIR TO HERNIA RECURRENCE? DATE AND NAME OF REOPERATION PERFORM FOR THE HERNIA RECURRENCE? RESULTS? ARE ANY PHOTOS AVAILABLE? WHAT IS THE PATIENT¿S CURRENT STATUS? |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-09974 | 2016-06-27 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1520V |  | (B)(4) DATE SENT TO FDA: 06/27/2016. ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? DATE OF INITIAL SURGICAL PROCEDURE? DATE THAT THE SURGEON FIRST NOTED THE MESH WAS NOT INCORPORATED? OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? MESH SIZE AND OVERLAP? IN WHAT TISSUE LAYER DID YOU PLACE THE MESH? (ONLAY, RETRO-MUSCULAR, EXTRA PERITONEAL OR INTRA-ABDOMINAL) IF APPLICABLE, CLOSURE OF THE DEFECT (YES OR NO), USE OF STAY SUTURES (HOW MANY), PERMANENT OR ABSORBABLE? IF APPLICABLE, THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS) HOW WAS THE EVENT DIAGNOSED? WHAT IS THE PATIENT¿S CURRENT STATUS? HAS MEDICAL OR SURGICAL INTERVENTION BEEN PROVIDED OR SCHEDULED? PLEASE PROVIDE DATES AND RESULTS. PHOTOS SHOW AREAS OF MESH THAT ARE NOT INCORPORATED. HOWEVER, THE REASON FOR INSUFFICIENT INCORPORATION CANNOT BE DETERMINED. |  | Y | N | HEALTH PROFESSIONAL
MW5063058 | 2016-06-23 | 20150113 | Malfunction | Voluntary report | PHYSIOMESH FLEXIBLE COMPOSITE MESH | MESH | ETHICON | PHY1015V |  |  | ORIGINAL HERNIA REPAIR CONDUCTED WITH PRODUCT THAT HAS NOW VOLUNTARILY BEEN RECALLED BY THE MFR DUE TO GREATER THAN EXPECTED RECURRENCE/OPERATIVE RATES. PT REQUIRED A SECOND PROCEDURE DUE TO RECURRENT HERNIA. |  | N | Y | HEALTH PROFESSIONAL
MW5063059 | 2016-06-23 | 20150306 | Malfunction | Voluntary report | PHYSIOMESH FLEXIBLE COMPOSITE MESH | MESH | ETHICON | PHY1015W |  |  | ORIGINAL HERNIA REPAIR CONDUCTED WITH PRODUCT THAT HAS NOW VOLUNTARILY BEEN RECALLED BY THE MFR DUE TO GREATER THAN EXPECTED RECURRENCE/OPERATIVE RATES. PT REQUIRED A SECOND PROCEDURE DUE TO RECURRENT HERNIA. |  | N | Y | HEALTH PROFESSIONAL
MW5063063 | 2016-06-23 | 20130401 | Malfunction | Voluntary report | PHYSIOMESH FLEXIBLE COMPOSITE MESH | MESH | ETHICON | PHY1520R |  |  | ORIGINAL HERNIA REPAIR CONDUCTED WITH PRODUCT THAT HAS NOW VOLUNTARILY BEEN RECALLED BY THE MFR DUE TO GREATER THAN EXPECTED RECURRENCE/OPERATIVE RATES. PT REQUIRED A SECOND PROCEDURE DUE TO RECURRENT HERNIA. |  | N | Y | HEALTH PROFESSIONAL
MW5063064 | 2016-06-23 | 20121119 | Malfunction | Voluntary report | PHYSIOMESH FLEXIBLE COMPOSITE MESH | MESH | ETHICON | PHY1520R |  |  | ORIGINAL HERNIA REPAIR CONDUCTED WITH PRODUCT THAT HAS NOW VOLUNTARILY BEEN RECALLED BY THE MFR DUE TO GREATER THAN EXPECTED RECURRENCE/OPERATIVE RATES. PT REQUIRED A SECOND PROCEDURE DUE TO RECURRENT HERNIA. |  | N | Y | HEALTH PROFESSIONAL
MW5063065 | 2016-06-23 | 20130924 | Malfunction | Voluntary report | PHYSIOMESH FLEXIBLE COMPOSITE MESH | MESH | ETHICON | PHY2025 |  |  | ORIGINAL HERNIA REPAIR CONDUCTED WITH PRODUCT THAT HAS NOW VOLUNTARILY BEEN RECALLED BY THE MFR DUE TO GREATER THAN EXPECTED RECURRENCE/OPERATIVE RATES. PT REQUIRED A SECOND PROCEDURE DUE TO RECURRENT HERNIA. |  | N | Y | HEALTH PROFESSIONAL
MW5063066 | 2016-06-23 | 20120521 | Malfunction | Voluntary report | PHYSIOMESH FLEXIBLE COMPOSITE MESH | MESH | ETHICON | PHY1015W |  |  | ORIGINAL HERNIA REPAIR CONDUCTED WITH PRODUCT THAT HAS NOW VOLUNTARILY BEEN RECALLED BY THE MFR DUE TO GREATER THAN EXPECTED RECURRENCE/OPERATIVE RATES. PT REQUIRED A SECOND PROCEDURE DUE TO RECURRENT HERNIA. |  | N | Y | HEALTH PROFESSIONAL
MW5063067 | 2016-06-23 | 20120723 | Malfunction | Voluntary report | PHYSIOMESH FLEXIBLE COMPOSITE MESH | MESH | ETHICON | PHY2535 |  |  | ORIGINAL HERNIA REPAIR CONDUCTED WITH PRODUCT THAT HAS NOW VOLUNTARILY BEEN RECALLED BY THE MFR DUE TO GREATER THAN EXPECTED RECURRENCE/OPERATIVE RATES. PT REQUIRED A SECOND PROCEDURE DUE TO RECURRENT HERNIA. PT DEVELOPED AN INFECTION. |  | N | Y | HEALTH PROFESSIONAL
MW5063072 | 2016-06-23 | 20140630 | Malfunction | Voluntary report | PHYSIOMESH FLEXIBLE COMPOSITE MESH | PHYSIOMESH FLEXIBLE COMPOSITE MESH | ETHICON | PHY1520R |  |  | ORIGINAL HERNIA REPAIR CONDUCTED WITH PRODUCT THAT HAS NOW VOLUNTARILY BEEN RECALLED BY THE MANUFACTURER DUE TO GREATER THAN EXPECTED RECURRENCE/OPERATIVE RATES. PATIENT REQUIRED A SECOND PROCEDURE DUE TO RECURRENT HERNIS. |  | N | Y | HEALTH PROFESSIONAL
MW5063073 | 2016-06-23 | 20140211 | Malfunction | Voluntary report | PHYSIOMESH FLEXIBLE COMPOSITE MESH | PHYSIOMESH FLEXIBLE COMPOSITE MESH | ETHICON | PHY2025V |  |  | ORIGINAL HERNIA REPAIR CONDUCTED WITH PRODUCT THAT HAS NOW VOLUNTARILY BEEN RECALLED BY THE MANUFACTURER DUE TO GREATER THAN EXPECTED RECURRENCE/OPERATIVE RATES. PATIENT REQUIRED A SECOND PROCEDURE DUE TO RECURRENT HERNIA. |  | N | Y | HEALTH PROFESSIONAL
MW5063088 | 2016-06-23 | 20111228 | Malfunction | Voluntary report | PHYSIOMESH FLEXIBLE COMPOSITE MESH | PHYSIOMESH FLEXIBLE COMPOSITE MESH | ETHICON | PHY1015 |  |  | ORIGINAL HERNIA REPAIR CONDUCTED WITH PRODUCT THAT HAS NOW VOLUNTARILY BEEN RECALLED BY THE MANUFACTURER DUE TO GREATER THAN EXPECTED RECURRENCE/OPERATIVE RATES. PT REQUIRED A SECOND PROCEDURE DUE TO RECURRENT HERNIA. |  | N | Y | HEALTH PROFESSIONAL
2210968-2016-10064 | 2016-06-29 | 20160608 | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10069 | 2016-06-29 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY2025V |  | (B)(4). ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. IN ADDITION, A REVIEW OF THE BATCH MANUFACTURING RECORDS WAS CONDUCTED AND THE BATCH MET ALL FINISHED GOODS RELEASE CRITERIA. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10070 | 2016-06-29 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1520V |  | ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE NO INFORMATION. DATE OF INITIAL SURGICAL PROCEDURE: (B)(6) 2015. WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? NO INFORMATION. OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS: BRAIN INFARCTION. PRODUCT LOT NUMBER? JB8HLGB0. WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? THE SURGEON THOUGHT IT WAS LESS LIKELY TO REPAIR THE HERNIA, BECAUSE THE ABDOMINAL WALL WAS VERY WEAK. THE PATIENT VISITED TO THIS HOSPITAL, BECAUSE HE/SHE NEEDED A SECOND OPINION. BEFORE VISITING THIS HOSPITAL, THE PATIENT WAS TOLD THAT THE HERNIA COULDN¿T BE REPAIRED FROM OTHER HOSPITAL. WHAT IS THE PATIENT¿S CURRENT STATUS? THE PATIENT IS MONITORED. WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? RECURRENT HERNIA. WHAT WAS THE DEFECT SIZE/TYPE/LOCATION OF THE HERNIA ASSOCIATED WITH THIS EVENT? NO INFORMATION. MESH SIZE AND OVERLAP? NO INFORMATION. IN WHAT TISSUE LAYER DID YOU PLACE THE MESH? (ONLAY, RETRO-MUSCULAR, EXTRA PERITONEAL OR INTRA-ABDOMINAL)? NO INFORMATION. IF APPLICABLE, CLOSURE OF THE DEFECT (YES OR NO), USE OF STAY SUTURES (HOW MANY), PERMANENT OR ABSORBABLE? SECURESTRAP. IF APPLICABLE, THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS)? NO INFORMATION. HOW MUCH TIME FROM INITIAL HERNIA REPAIR TO HERNIA RECURRENCE? NO INFORMATION. WAS THERE ANY TRIGGERING EVENT PRIOR TO PRESENT RECURRENCE? (E.G. WEIGHT GAIN, SNEEZING, COUGHING, STRENUOUS ACTIVITY)? NO INFORMATION. HOW WAS THE RECURRENCE DIAGNOSED? NO INFORMATION. WAS ANY MEDICAL OR SURGICAL INTERVENTION PROVIDED? PLEASE EXPLAIN WITH DATES AND RESULTS? NO. THE REOPERATION WILL NOT BE PLANNED. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10224 | 2016-07-07 | 20160414 | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY2025V |  | (B)(4). ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. ATTEMPTS HAVE BEEN MADE TO RETRIEVE THE DEVICE. TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? DATE THAT THE SURGEON FIRST NOTED HERNIA RECURRENCE? OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS. WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? WAS THE INITIAL PROCEDURE LAPAROSCOPIC OR OPEN? MESH SIZE AND OVERLAP? IN WHAT TISSUE LAYER DID YOU PLACE THE MESH? (ONLAY, RETRO-MUSCULAR, EXTRA PERITONEAL OR INTRA-ABDOMINAL). IF APPLICABLE, THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS). HOW WAS THE EVENT DIAGNOSED? WHAT IS THE PATIENT¿S CURRENT STATUS? DATE AND RESULTS OF REOPERATION. ARE ANY PHOTOS AVAILABLE? |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10225 | 2016-07-07 | 20160608 | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | (B)(4) DATE SENT TO FDA: 07/07/2016. (B)(4). ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: BASED ON THE EVENT DESCRIPTION PROVIDED, IT APPEARS THAT THE REPORTED ISSUE WAS ATTRIBUTED TO THE PHYSIOMESH. DOES THE SURGEON BELIEVE THE PATIENT¿S REPORTED ISSUE IS RELATED TO THE SECURESTRAP? IF YES, PLEASE PROVIDE PRODUCT CODE AND LOT NUMBER OF THE SECURESTRAP. NO SURGEON DOES NOT BELIEVE ISSUE RELATED TO PHYSIOMESH OR SECURESTRAP. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF THE PROCEDURE? MALE ¿ NO OTHER DETAILS OBTAINED. DATE OF THE ROBOTIC VENTRAL HERNIA REPAIR? WAS NOT A ROBOTIC VENTRAL HERNIA REPAIR. WERE ANY CONCOMITANT PROCEDURES PERFORMED? NO. ONSET DATE / TIME OF THE REPORTED SYMPTOMS FROM SURGERY? PATIENT UNDERWENT A VENTRAL HERNIA REPAIR ON (B)(6) 2015 INCLUDING PLACEMENT OF PHYSIOMESH 5 CM OVERLAP WITH SECURESTRAP. ON (B)(6) REVIEWED WITH NO PROBLEMS NOTED BY PATIENT. ON (B)(6) PATIENT PRESENTED WITH SEROMA IN CENTRE OF MESH- LEFT AND RESOLVING ON (B)(6) ¿ PATIENT SAW SURGEON AND REPORTED MOWING THE LAWN WHICH WAS FOLLOWED BY SIGNIFICANT PAIN OVER ORIGINAL HERNIA SITE. REVIEWED BY CT AND MESH ALL IN PLACE, NO RECURRENCE IDENTIFIED. HAS ANY MEDICAL OR SURGICAL INTERVENTION BEEN PROVIDED FOR THE PAIN MANAGEMENT? RESULTS? SURGEON UNAWARE OF PAIN MANAGEMENT MEDS. PATIENT SELF REFERRED TO ANOTHER SURGEON IN SYDNEY WHO COMPLETED A CONSULT AND SUGGESTED REDO HERNIA REPAIR OPERATION. PRODUCT CODE AND LOT NUMBER OF THE PHYSIOMESH? UNSURE OF LOT NUMBER PHY1015V. WHAT IS THE SURGEON¿S OPINION AS TO THE AETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? NO INDICATION OF RECURRENCE FROM INVESTIGATIONS. WHAT IS THE PATIENT¿S CURRENT STATUS? UNDER CARE OF ANOTHER SURGEON. TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10227 | 2016-07-07 |  | Injury | Manufacturer report | PHYSIOMESH RECTANGULAR | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY2030R |  | (B)(4). INTERVENTION. (B)(4) HERNIA RECURRENCE OCCURRED. ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, WEIGHT AND BMI AT THE TIME OF INDEX PROCEDURE DATE AND NAME OF INITIAL SURGICAL PROCEDURE? WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS? PRODUCT CODE AND LOT NUMBER? WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? ANY CONCURRENT PROCEDURE/DEVICE IMPLANTATION? RESULTS OF REOPERATION? WERE ANY DEFICIENCIES OR ANOMALIES NOTED WITH MESH DEVICE DURING REMOVAL? HAS ANY MEDICAL OR SURGICAL INTERVENTION BEEN PROVIDED OR SCHEDULED AS A RESULT OF THE MULTIPLE URINARY TRACT INFECTIONS? WHAT IS THE PATIENT¿S CURRENT STATUS? TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10229 | 2016-07-07 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | ETHICON INC. | UNK | UNK |  | (B)(4). ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE DATE AND NAME OF INITIAL SURGICAL PROCEDURE? THE DIAGNOSIS AND INDICATION FOR THE INDEX SURGICAL PROCEDURE? WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS PRODUCT CODE AND LOT NUMBER? WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? WHAT IS THE PATIENT CURRENT STATUS? WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? WHAT WAS THE DEFECT SIZE/TYPE/LOCATION OF THE HERNIA ASSOCIATED WITH THIS EVENT? MESH SIZE AND OVERLAP? WAS THE PROCEDURE ASSOCIATED WITH THIS EVENT OPEN OR LAPAROSCOPIC? IF APPLICABLE IN WHAT TISSUE LAYER DID YOU PLACE THE MESH? (ONLAY, RETRO-MUSCULAR, EXTRA PERITONEAL OR INTRA ABDOMINAL) IF APPLICABLE, CLOSURE OF THE DEFECT (YES OR NO), USE OF STAY SUTURES (HOW MANY), PERMANENT OR ABSORBABLE? IF APPLICABLE, THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS) WERE THERE ANY SURGICAL INSTRUMENTS USED IN THE PLACEMENT OF THE MESH THAT MIGHT HAVE DAMAGED THE MESH? E.G. GRASPERS CRIMPING THE MESH FIBERS HOW MUCH TIME FROM INITIAL HERNIA REPAIR TO HERNIA RECURRENCE? WAS THERE ANY TRIGGERING EVENT PRIOR TO PRESENT RECURRENCE? (E.G. WEIGHT GAIN, SNEEZING, COUGHING, STRENUOUS ACTIVITY)? HOW WAS THE RECURRENCE DIAGNOSED? PLEASE PROVIDE THE DATE AND RESULTS OF REOPERATION. ARE THERE ANY PHOTOS AVAILABLE? TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10235 | 2016-07-07 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | ETHICON INC. | UNK | PHY1015V |  | (B)(4). DATE SENT TO THE FDA: 07/07/2016. TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: WHAT TYPE OF SURGERY DID YOU HAVE? ABDOMINAL HERNIA REPAIR. WHAT WAS THE REASON FOR THIS SURGICAL PROCEDURE? HERNIA IN THE ABDOMINAL REGION. PLEASE PROVIDE THE DATE SURGERY DATE. (B)(6) 2016. WHAT ETHICON PRODUCT WAS USED? PHYSIOMESH. DO YOU KNOW THE PRODUCT CODE OR LOT NUMBER ? NO. WHEN DID THE ISSUE BEGIN? WHAT KIND OF SYMPTOMS ARE EXPERIENCING? BLOATING AND DISTENTION DEVELOPED SOON AFTER THE PROCEDURE AND CONTINUED TO EXPAND OVER THE NEXT TWO MONTHS. HAVE YOU SEEN A PHYSICIAN OR SURGEON ABOUT THIS ISSUE? IF YES, WHAT DID THEY SAY ABOUT YOUR CONDITION? THE PATIENT SAW HIS PHYSICIAN AND, AFTER MONITORING THE ISSUE, SUGGESTED HAVING THE MESH REMOVED. WAS A NEW SURGERY PERFORMED TO CORRECT YOUR CONDITION? IF YES, DATE AND NAME OF THE PROCEDURE? A REOPERATION HASN¿T BEEN SCHEDULED, YET, DUE TO FINANCIAL ISSUES. CAN YOU PROVIDE US WITH A BRIEF MEDICAL/SURGICAL HISTORY? WAS THERE ANY COMPLICATION FROM THE INITIAL SURGERY? THERE WERE NO COMPLICATIONS KNOWN PRIOR TO THE START OF THE PROCEDURE. IF IN YOUR POSSESSION, MAY WE HAVE A COPY OF YOUR OPERATIVE REPORT? THE OPERATIVE REPORT IS IN THE POSSESSION OF THE DOCTOR, LISTED IN CONTACTS. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10291 | 2016-07-11 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | ETHICON INC. | UNK | UNK |  | (B)(4). ATTEMPTS ARE BEING MADE TO OBTAIN INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10292 | 2016-07-11 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | ETHICON INC. |  | UNK |  | (B)(4). ADDITIONAL MEDICAL INTERVENTION. ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. PRODUCT CODE AND LOT NUMBER. DATE OF INITIAL PROCEDURE. PATIENT INITIALS, AGE, GENDER, WEIGHT AND BMI AT THE TIME OF INDEX PROCEDURE, & PAST MEDICAL HISTORY. WHAT SPECIFIC SYMPTOMS DID THE PATIENT EXPERIENCE? WAS THERE ANY MEDICAL/SURGICAL INTERVENTION PERFORMED ON THE PATIENT POST-OPERATIVELY? IF SO, PLEASE LIST WITH DATES AND RESULTS. WHAT IS THE PATIENT¿S CURRENT STATUS? WHAT IS THE PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10336 | 2016-07-12 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1520V |  | (B)(4). |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10439 | 2016-07-14 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | JOHNSON & JOHNSON INTERNATIONAL | UNK | PHY1520V |  | A TISSUE SAMPLE WAS SUBMITTED IN AN ENCLOSED SPECIMEN CONTAINER. A CT X-RAY SCAN WAS CONDUCTED ON THE AS-RECEIVED CONTAINER. THE SPECIMEN CONTAINER WAS NOT OPENED. THE CT SCAN WAS PERFORMED TO DETERMINE IF A MESH SPECIMEN WAS PRESENT AND COULD BE IMAGED USING CT. AFTER THE SCANS WERE RECONSTRUCTED, VARIOUS VIEWS WERE EXAMINED IN AN ATTEMPT TO VIEW THE SPECIMEN INSIDE. AFTER CAREFUL EXAMINATION OF THE DATA FROM MULTIPLE ANGLES, NO MESH WAS DETECTED AT ANY OF THE VIEWING DIRECTIONS. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10602 | 2016-07-19 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY2025V |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. IN ADDITION, A REVIEW OF THE BATCH MANUFACTURING RECORDS WAS CONDUCTED AND THE BATCH MET ALL FINISHED GOODS RELEASE CRITERIA. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10606 | 2016-07-19 |  | Injury | Manufacturer report | PHYSIOMESH RECTANGULAR | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1515Q |  | (B)(4). ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE DATE OF INITIAL SURGICAL PROCEDURE? WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS PRODUCT LOT NUMBER? WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? WHAT WAS THE DEFECT SIZE/TYPE/LOCATION OF THE HERNIA ASSOCIATED WITH THIS EVENT? MESH SIZE AND OVERLAP? WAS THERE ANY TRIGGERING EVENT PRIOR TO PRESENT RECURRENCE? (E.G. WEIGHT GAIN, SNEEZING, COUGHING, STRENUOUS ACTIVITY)? HOW WAS THE RECURRENCE DIAGNOSED? PLEASE PROVIDE THE DATE OF REOPERATION. MESH LOCATION AND INTEGRITY? WAS ANY DEFICIENCY OR ANOMALY OF THE MESH? IF YES, PLEASE DESCRIBE IT. ARE THERE ANY PICTURES AVAILABLE? WHAT IS THE PATIENT¿S CURRENT STATUS? TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-10957 | 2016-08-01 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | ETHICON INC. | UNK | UNK |  | (B)(4). DATE SENT TO FDA: 08/01/2016. (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11246 | 2016-08-10 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | (B)(46). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: DEVICE LOT NUMBER? - SALES REP. REPORTED NI, LOT NUMBER IS NOT AVAILABLE. SPECIFIC TYPE OF HERNIA REPAIR (I.E. VENTRAL, UMBILICAL AND LAPAROSCOPIC OR OPEN)? -SALES REP. REPORTED NI. WAS THERE DIFFICULTY WITH THE PURPLE SUTURE OR DID THE SURGEON ASSOCIATE THE REPORTED DIFFICULTY WITH THE MESH ONLY? - SALES REP. REPORTED THE COMPLAINT WAS SPECIFICALLY RELATED TO THE MESH, NO DIFFICULTY WITH SUTURES. IT WAS REPORTED THAT THE MESH WAS REMOVED, IT IS AVAILABLE FOR RETURN/EVALUATION?- SALES REP. REPORTED NOT AVAILABLE FOR RETURN, THE MESH WAS REMOVED BUT NOT RETAINED FOR RETURN/EVALUATION. REP. REPORTED MESH WITH TISSUE WAS DISCARDED. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11247 | 2016-08-10 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: DEVICE LOT NUMBER? - SALES REP. REPORTED NI, LOT NUMBER IS NOT AVAILABLE. SPECIFIC TYPE OF HERNIA REPAIR (I.E. VENTRAL, UMBILICAL AND LAPAROSCOPIC OR OPEN)? -SALES REP. REPORTED NI. WAS THERE DIFFICULTY WITH THE PURPLE SUTURE OR DID THE SURGEON ASSOCIATE THE REPORTED DIFFICULTY WITH THE MESH ONLY? - SALES REP. REPORTED THE COMPLAINT WAS SPECIFICALLY RELATED TO THE MESH, NO DIFFICULTY WITH SUTURES. IT WAS REPORTED THAT THE MESH WAS REMOVED, IT IS AVAILABLE FOR RETURN/EVALUATION?- SALES REP. REPORTED NOT AVAILABLE FOR RETURN, THE MESH WAS REMOVED BUT NOT RETAINED FOR RETURN/EVALUATION. REP. REPORTED MESH WITH TISSUE WAS DISCARDED. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11260 | 2016-08-11 | 20160301 | Injury | Manufacturer report | ETHICON PHYSIOMESH COMPOSITE MESH 15X20CM OVAL | MESH, SURGICAL | ETHICON INC. | UNK | PHY1520V |  | DATE SENT TO FDA: 3/14/2019. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11304 | 2016-08-15 | 20160723 | Injury | Manufacturer report | PHYSIOMESH RECTANGULAR | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1515Q |  | (B)(4). ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11455 | 2016-08-19 | 20160517 | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | (B)(4). IN ADDITION, A REVIEW OF THE BATCH MANUFACTURING RECORDS WAS CONDUCTED AND THE BATCH MET ALL FINISHED GOODS RELEASE CRITERIA. TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. (B)(4). |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11456 | 2016-08-19 |  | Injury | Manufacturer report | PHYSIOMESH RECTANGULAR | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1520R |  | ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: SURGERY DATE: (B)(6) 2013. PROCEDURE: LAPAROSCOPIC INCISIONAL HERNIA. (B)(6). RECURRENT HERNIA REPAIR ON (B)(6) 2013. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11457 | 2016-08-19 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | (B)(6). |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11458 | 2016-08-19 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY2535V |  | PROCEDURE: LAPAROSCOPIC VENTRAL HERNIA. (B)(6). |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11486 | 2016-08-23 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | SURGERY DATE: (B)(6) 2012. PROCEDURE: LAPAROSCOPIC UMBILICAL HERNIA. (B)(6). RECURRENT HERNIA REPAIR ON (B)(6) 2013. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11488 | 2016-08-23 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: SURGERY DATE: (B)(6) 2011. PROCEDURE: LAPAROSCOPIC UMBILICAL HERNIA. (B)(6). RECURRENT HERNIA REPAIR ON (B)(6) 2016. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11493 | 2016-08-23 |  | Injury | Manufacturer report | PHYSIOMESH RECTANGULAR | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1520R |  | ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: SURGERY DATE: (B)(6) 2012. PROCEDURE: LAPAROSCOPIC EPIGASTRIC HERNIA. (B)(6). RECURRENT HERNIA REPAIR ON (B)(6) 2013. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11494 | 2016-08-23 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY2025V |  | ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: SURGERY DATE: (B)(6) 2014; PROCEDURE: INCISIONAL HERNIA REPAIR; AGE: (B)(6); WEIGHT: (B)(6). |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11497 | 2016-08-23 |  | Injury | Manufacturer report | PHYSIOMESH RECTANGULAR | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1520R |  | SURGERY DATE: (B)(6) 2014. PROCEDURE: OPEN INCISIONAL HERNIA. (B)(6). RECURRENT HERNIA REPAIR ON (B)(6) 2015. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11505 | 2016-08-23 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY2025V |  | ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: SURGERY DATE: (B)(6) 2013. PROCEDURE: OPEN REPAIR OF RECURRENT HERNIA. (B)(6). |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11506 | 2016-08-23 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: SURGERY DATE: (B)(6) 2015; PROCEDURE: LAPAROSCOPIC UMBILICAL HERNIA; AGE: (B)(6); WEIGHT: (B)(6); RECURRENT HERNIA REPAIR ON (B)(6) 2015. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11508 | 2016-08-23 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY1015V |  | ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: SURGERY DATE: (B)(6) 2015. PROCEDURE: INCISIONAL HERNIA REPAIR. (B)(6). RECURRENT HERNIA REPAIR ON (B)(6) 2015. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11511 | 2016-08-23 |  | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | PHY2535V |  | CORRECTED INFORMATION: THIS MEDWATCH REPORT IS BEING VOIDED AS IT IS A DUPLICATE OF MEDWATCH REPORT #: 2210968-2016-11458. PLEASE SEE MEDWATCH REPORT #2210968-2016-11458 FOR ALL INFORMATION REGARDING THIS EVENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-11556 | 2016-08-24 | 20160803 | Injury | Manufacturer report | PHYSIOMESH OPEN | MESH, SURGICAL, POLYMERIC | ETHICON INC. | UNK | OPHY2030 |  | (B)(4). ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE DATE AND NAME OF INITIAL SURGICAL PROCEDURE THE DIAGNOSIS AND INDICATION FOR THE INITIAL SURGICAL PROCEDURE? WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? WHAT IS THE PATIENT¿S CURRENT STATUS? WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? WHAT WAS THE DEFECT SIZE/TYPE/LOCATION OF THE HERNIA ASSOCIATED WITH THIS EVENT? MESH SIZE AND OVERLAP? IF APPLICABLE, CLOSURE OF THE DEFECT (YES OR NO), USE OF STAY SUTURES (HOW MANY), PERMANENT OR ABSORBABLE? IF APPLICABLE, THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS) WAS THERE ANY TRIGGERING EVENT PRIOR TO PRESENT RECURRENCE? (E.G. WEIGHT GAIN, SNEEZING, COUGHING, STRENUOUS ACTIVITY)? HOW WAS THE RECURRENCE DIAGNOSED? ARE ANY PHOTOGRAPHS AVAILABLE? ATTEMPTS HAVE BEEN MADE TO RETRIEVE THE DEVICE. TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. IN ADDITION, A REVIEW OF THE BATCH MANUFACTURING RECORDS WAS CONDUCTED AND THE BATCH MET ALL FINISHED GOODS RELEASE CRITERIA. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-60023 | 2016-09-23 | 20160831 | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | JOHNSON & JOHNSON INTERNATIONAL | UNK | PHY2025V |  | DATE SENT TO FDA: 07/25/2017 PATIENT CODE:(B)(4) ADDITIONAL INFORMATION REQUEST. REOPERATION WAS PERFORMED ON (B)(6)2017, SINCE THE PATIENT HAD COMPLAINED ABOUT A FEELING OF STRANGENESS AROUND LOWER RIGHT ABDOMEN. THE SITE WAS CHECKED INSIDE THE ABDOMINAL CAVITY AND IT WAS FOUND THAT THE HERNIA ORIFICE WAS COVERED WITH THE REPORTED MESH AND HERNIA WAS PUSHED UP TOGETHER WITH THE MESH. THE DOCTOR OPINES THAT THE PRESSURE INSIDE THE ABDOMINAL CAVITY PUSHED THE HERNIA OUT OF THE HERNIA ORIFICE. ADDITIONAL MESH WAS FIXED OVER THE EXISTING MESH. WOUND INFECTION WAS CONFIRMED. THE PATIENT WAS RECOVERED AND CAME OUT OF THE HOSPITAL. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-60036 | 2016-10-06 |  | Injury | Manufacturer report | PHYSIOMESH RECTANGULAR | MESH, SURGICAL, POLYMERIC | JOHNSON & JOHNSON INTERNATIONAL | UNK | PHY1515Q |  | (B)(4). TO DATE, THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE, A SUPPLEMENTAL MEDWATCH WILL BE SENT. ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE, A SUPPLEMENTAL MEDWATCH WILL BE SENT. PLEASE PROVIDE YOUR AGE, BODY WEIGHT AND HEIGHT AT THE TIME OF THIS SURGICAL PROCEDURE. IF IN YOUR POSSESSION, MAY WE HAVE A COPY OF YOUR OPERATIVE REPORT? DOES ETHICON HAVE YOUR PERMISSION TO CONTACT YOUR SURGEON, IN THE EVENT ETHICON WOULD LIKE TO CONTACT YOUR SURGEON FOR MORE CLINICAL INFORMATION TO BE USED FOR A PRODUCT QUALITY COMPLAINT INVESTIGATION? IF SO, PLEASE PROVIDE YOUR SURGEON¿S NAME, CONTACT INFORMATION AND SIGN RELEASE OF MEDICAL INFORMATION FORM ATTACHED. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-60041 | 2016-10-10 |  | Injury | Manufacturer report | PHYSIOMESH RECTANGULAR | MESH, SURGICAL, POLYMERIC | JOHNSON & JOHNSON INTERNATIONAL | UNK | PHY1520R |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. ADDITIONAL INFORMATION WAS REQUESTED AND THE FOLLOWING WAS OBTAINED: THE INITIAL SURGERY WAS AN OPEN PAR UMBILICAL REPAIR. END OF (B)(6) 2014; THE MESH WAS IMPLANTED ON (B)(6) 2014 FOLLOWING A FALL FROM A CHAIR, END OF (B)(6) 2014. AFTER THE FALL I FELT EXCRUCIATING PAIN AT THE SITE OF THE HERNIA REPAIR, IT WAS LATER ESTABLISHED THAT I HAD EXPERIENCED A RECURRENCE OF THE INITIAL HERNIA DURING THE FALL. THE SYMPTOMS THAT I AM NOW EXPERIENCING ARE, AS FOLLOWS; A CONSTANT FEELING OF BLOATED-NESS, BURNING SENSATION IN MY LEFT SIDE OF MY ABDOMEN (SIMILAR TO INDIGESTION IS THE ONLY WAY I CAN DESCRIBE IT). SHOOTING PAINS. STABBING PAINS. NAUSEA (LEADING TO URGING, WITHOUT VOMITING) THIS CAN HAPPEN WITHOUT WARNING, BUT, IS NORMALLY PROCEEDED AND FOLLOWED BY, EXCRUCIATING PAIN. OBTAINING APPROXIMATELY 3.5/4 HOURS OF SLEEP PER NIGHT (IF I AM LUCKY) DUE TO THE PAIN WHEN LYING DOWN OR TURNING. I HAVE SEEN MANY PHYSICIANS OVER THE YEARS, I HAVE BEEN ADVISED THAT SURGERY MAY CAUSE FURTHER ISSUES BUT, I AM DEEPLY CONCERNED ABOUT THE RECALL OF THIS PRODUCT. THERE HAVE BEEN NO SURGICAL COMPLICATIONS SINCE THE IMPLANTING OF THE MESH, HOWEVER, MY SYMPTOMS ARE AT A CATASTROPHIC STATE NOW, I CANNOT WORK DUE TO THE CONSTANT PAIN. I HAVE BEEN THROUGH EVERY AVENUE OF PAIN MANAGEMENT CONCEIVABLE AS WELL AS PSYCHOLOGICAL THERAPY. THEY ALL PUT IT DOWN TO A MECHANICAL ISSUE. WHAT ETHICON PRODUCT WAS USED DURING THE SURGICAL PROCEDURE? - I DO HAVE A COPY OF THE SURGICAL NOTES WHICH CLEARLY SHOW THAT THE MESH USED WAS PHYSIOMESH 15X20 TRIMMED DOWN TO 15 X15 , IT ALSO CLEARLY SHOWS "PROLENE" WHICH, AS YOU KNOW, IS THE REGISTERED TRADE MARK. I ALSO FAIL TO SEE HOW MY HEIGHT AND WEIGHT ARE RELEVANT TO THIS. THE ETHICON PRODUCT WAS; PHYSIOMESH (PROLENE) PHY1520R. WHAT TYPE OF SURGERY DID YOU HAVE? WHAT WAS THE REASON FOR THIS SURGICAL PROCEDURE? PLEASE PROVIDE THE SURGERY DATE. IS THE PRODUCT CODE AND LOT NUMBER AVAILABLE? THE DIAGNOSIS AND INDICATION FOR THE INITIAL SURGICAL PROCEDURE? WHEN DID THE ISSUE BEGIN? WHAT KIND OF SYMPTOMS ARE YOU EXPERIENCING? HAVE YOU SEEN A PHYSICIAN OR SURGEON ABOUT THIS ISSUE? IF YES, WHAT DID THEY SAY ABOUT YOUR CONDITION? PLEASE PROVIDE YOUR AGE, BODY WEIGHT AND HEIGHT AT THE TIME OF THIS SURGICAL PROCEDURE. WAS A NEW SURGERY PERFORMED TO CORRECT YOUR CONDITION? IF YES, DATE AND NAME OF THE PROCEDURE? CAN YOU PROVIDE US WITH A BRIEF MEDICAL / SURGICAL HISTORY? WAS THERE ANY COMPLICATION FROM THE INITIAL SURGERY? IF IN YOUR POSSESSION, MAY WE HAVE A COPY OF YOUR OPERATIVE REPORT? SURGEON¿S NAME? |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-60047 | 2016-10-13 | 20160101 | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | JOHNSON & JOHNSON INTERNATIONAL | UNK | PHY1520V |  | (B)(4) DATE SENT TO FDA: 10/13/2016. (B)(4). ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE DATE AND NAME OF INITIAL SURGICAL PROCEDURE. THE DIAGNOSIS AND INDICATION FOR THE INITIAL SURGICAL PROCEDURE? WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS? PRODUCT LOT NUMBER? WHAT IS PHYSICIAN'S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT? WHAT IS THE PATIENT'S CURRENT STATUS? WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? WHAT WAS THE DEFECT SIZE/TYPE/LOCATION OF THE HERNIA ASSOCIATED WITH THIS EVENT? MESH SIZE AND OVERLAP? WAS THE PROCEDURE ASSOCIATED WITH THIS EVENT OPEN OR LAPAROSCOPIC? IF APPLICABLE IN WHAT TISSUE LAYER DID YOU PLACE THE MESH? (ONLAY, RETRO-MUSCULAR, EXTRA PERITONEAL OR INTRA ABDOMINAL) IF APPLICABLE, CLOSURE OF THE DEFECT (YES OR NO), USE OF STAY SUTURES (HOW MANY), PERMANENT OR ABSORBABLE? IF APPLICABLE, THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS). HOW MUCH TIME FROM INITIAL HERNIA REPAIR TO HERNIA RECURRENCE? WAS THERE ANY TRIGGERING EVENT PRIOR TO PRESENT RECURRENCE? (E.G. WEIGHT GAIN, SNEEZING, COUGHING, STRENUOUS ACTIVITY)? HOW WAS THE RECURRENCE DIAGNOSED? WAS ANY MEDICAL OR SURGICAL INTERVENTION PROVIDED? PLEASE PROVIDE THE DATE AND RESULTS. ARE THERE ANY PICTURES AVAILABLE? TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-60058 | 2016-10-26 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | JOHNSON & JOHNSON INTERNATIONAL | UNK | UNK |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-60059 | 2016-10-26 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | JOHNSON & JOHNSON INTERNATIONAL | UNK | UNK |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-60060 | 2016-10-26 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | JOHNSON & JOHNSON INTERNATIONAL |  | UNK |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-60061 | 2016-10-26 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | JOHNSON & JOHNSON INTERNATIONAL | UNK | UNK |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-60063 | 2016-10-27 | 20160930 | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | JOHNSON & JOHNSON INTERNATIONAL | UNK | PHY1520V |  | (B)(4). TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. IN ADDITION, A REVIEW OF THE BATCH MANUFACTURING RECORDS WAS CONDUCTED AND THE BATCH MET ALL FINISHED GOODS RELEASE CRITERIA. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-60064 | 2016-10-27 | 20161003 | Injury | Manufacturer report | PHYSIOMESH OVAL | MESH, SURGICAL, POLYMERIC | JOHNSON & JOHNSON INTERNATIONAL | UNK | PHY1015V |  | (B)(4). TO DATE, THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE, A SUPPLEMENTAL MEDWATCH WILL BE SENT. |  | Y | N | HEALTH PROFESSIONAL
2210968-2016-60072 | 2016-11-07 |  | Injury | Manufacturer report | PHYSIOMESH | MESH, SURGICAL | JOHNSON & JOHNSON INTERNATIONAL | UNK | UNK |  | (B)(4) RECURRENT HERNIA OCCURRED. TO DATE THE DEVICE HAS NOT BEEN RETURNED. IF THE DEVICE OR FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. ATTEMPTS ARE BEING MADE TO OBTAIN THE FOLLOWING INFORMATION. TO DATE NO RESPONSE HAS BEEN PROVIDED. IF FURTHER DETAILS ARE RECEIVED AT A LATER DATE A SUPPLEMENTAL MEDWATCH WILL BE SENT. THE PATIENT DEMOGRAPHIC INFO: AGE, GENDER, WEIGHT, BMI AT THE TIME OF INDEX PROCEDURE DATE AND NAME OF INITIAL SURGICAL PROCEDURE. THE DIAGNOSIS AND INDICATION FOR THE INITIAL SURGICAL PROCEDURE? WHAT WERE CURRENT SYMPTOMS FOLLOWING THE INDEX SURGICAL PROCEDURE? ONSET DATE? OTHER RELEVANT PATIENT HISTORY/CONCOMITANT MEDICATIONS. PRODUCT CODE AND LOT #. WHAT IS PHYSICIAN¿S OPINION AS TO THE ETIOLOGY OF OR CONTRIBUTING FACTORS TO THIS EVENT WAS THE HERNIA REPAIR ASSOCIATED WITH THIS EVENT PERFORMED ON PRIMARY OR RECURRENT HERNIA? WHAT WAS THE DEFECT SIZE/TYPE/LOCATION OF THE HERNIA ASSOCIATED WITH THIS EVENT? MESH SIZE AND OVERLAP? CLOSURE OF THE DEFECT (YES OR NO), USE OF STAY SUTURES (HOW MANY), PERMANENT OR ABSORBABLE? THE MESH FIXATION TECHNIQUE: DEVICE AND TECHNIQUE? (SINGLE OR DOUBLE CROWN; SPACING BETWEEN IMPLANTS). HOW MUCH TIME FROM INITIAL HERNIA REPAIR TO HERNIA RECURRENCE? WAS THERE ANY TRIGGERING EVENT PRIOR TO PRESENT RECURRENCE? (E.G. WEIGHT GAIN, SNEEZING, COUGHING, STRENUOUS ACTIVITY)? HOW WAS THE RECURRENCE DIAGNOSED? DID THE PATIENT RECEIVE ANY MEDICAL OR SURGICAL INTERVENTION? PLEASE EXPLAIN WITH DATES AND RESULTS. ARE ANY PHOTOS AVAILABLE? WHAT IS THE PATIENT¿S CURRENT STATUS? |  | Y | N | HEALTH PROFESSIONAL

## Monthly Summary
year_month | count
2016-05 | 5
2016-06 | 30
2016-07 | 11
2016-08 | 19
2016-09 | 1
2016-10 | 9
2016-11 | 1

## Event Types
Event Type | Count
Injury | 65
Malfunction | 11

## Brand Names
Brand Name | Count
PHYSIOMESH OVAL | 35
PHYSIOMESH | 18
PHYSIOMESH RECTANGULAR | 11
PHYSIOMESH FLEXIBLE COMPOSITE MESH | 10
ETHICON PHYSIOMESH COMPOSITE MESH 15X20CM OVAL | 1
PHYSIOMESH OPEN | 1

## Case Metadata
Case Name | MDL Number | Filing Date | Court | Status | Settlement | Data Window Start | Data Window End | Total Records | Search Queries Used
Physiomesh (Ethicon) | 2782 | 2016-11-07 | N.D. Georgia | Active | N/A | 2016-05-08 | 2016-11-07 | 76 | 2