## Sheet1
mdr_report_key | date_received | event_type | brand_name | generic_name | manufacturer | patient_problems
3963688 | 20140408 | Malfunction | MYRIAD HANDPIECE | TISSUE MORCELLATOR | NICO CORPORATION
3976320 | 20140618 | Malfunction | KARL STORZ ROTOCUT MORCELLATOR | MORCELLATOR | KARL STORZ GMBH & CO.
4101997 | 20140919 | Injury | SMITH AND NEPHEW TRUCLEAR ROTARY MORCELLATOR | ROTARY MORCELLATOR | SMITH AND NEPHEW INC.
4129427 | 20140919 | Malfunction | MORCELLATOR CUTTING TUBE 12MM | MORCELLATOR CUTTING TUBE 12MM | RICHARD WOLF GMBH
4156036 | 20141001 | Injury | KARL STORZ MORCELLATOR | MORCELLATOR | KARL STORZ GMBH & CO. KG
3731188 | 20140407 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3731193 | 20140407 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3731209 | 20140407 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3731746 | 20140407 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3733095 | 20140408 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3733101 | 20140408 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3733103 | 20140408 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3759285 | 20140418 | Malfunction | GYNECARE X-TRACT TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3761365 | 20140421 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3767736 | 20140423 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3775343 | 20140428 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3792843 | 20140506 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3792916 | 20140506 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3804784 | 20140512 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3804827 | 20140512 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3804846 | 20140512 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3804851 | 20140512 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3804857 | 20140512 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3818927 | 20140519 | Injury | MORCELLEX SIGMA TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3835648 | 20140521 | Death | MORCELLATOR | NONE | JOHNSON AND JOHNSON
3843042 | 20140602 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3845726 | 20140603 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3846049 | 20140603 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3847963 | 20140604 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3848025 | 20140604 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3852019 | 20140605 | Injury | GYNECARE X-TRACT TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3856109 | 20140609 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3856552 | 20140609 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3864173 | 20140610 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3864175 | 20140610 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3864188 | 20140610 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3888331 | 20140528 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC | ETHICON, INC.
3891505 | 20140624 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3900262 | 20140627 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3904447 | 20140701 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3944544 | 20140714 | Death | UTERINE POWER MORCELLATOR | NONE
3954561 | 20140722 | Malfunction | GYNECARE MORCELLEX SIGMA TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON, INC.
4017161 | 20140818 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
4107390 | 20140922 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
4107747 | 20140922 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
4114916 | 20140924 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
4115518 | 20140924 | Malfunction | GYNECARE MORCELLEX TISSUE MORCELLATOR | LAPAROSCOPE, GYNECOLOGIC (AND ACCESSORIES) | ETHICON INC.
3740710 | 20140410 | Malfunction | KII 12X100 Z-THR OPT SEP SYS | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3740989 | 20140410 | Malfunction | KII 12X150 Z-THR OPT SEP SYS | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3741693 | 20140411 | Malfunction | KII 12X100 FIOS Z-THREADED | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3747361 | 20140413 | Injury | KII 12X100 Z-THR OPT SEP SYS | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3747368 | 20140413 | Malfunction | 12X150 MM KII SLEEVE ADVFIX 12/BX | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3750186 | 20140410 | Malfunction | ACE LAPAROSCOPIC SHEARS | ACE LAPAROSCOPIC SHEARS | ETHICON ENDO SURGERY
3752974 | 20140411 | Malfunction | ENSEAL | LAPAROSCOPIC TISSUE SEALER | ETHICON
3757104 | 20140417 | Malfunction | 12X150MM KII FIOS ADVFIX 6/BX | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3757150 | 20140417 | Malfunction | KII 12X100 FIOS Z-THREADED | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3757585 | 20140417 | Malfunction | PNEUMO SURE HIGH FLOW INSUFFLATOR | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3758016 | 20140417 | Malfunction | KII FIOS 11X100MM Z-THR | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3758017 | 20140417 | Malfunction | 15X100MM KII OPTICAL ACCESS SYSTEM THREADED | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3768474 | 20140423 | Malfunction | KII 5X100 FIOS Z-THR | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3768542 | 20140423 | Malfunction | 12X60MM KII OPTICAL ACCESS SYSTEM THREADED 6/BOX | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3771030 | 20140424 | Malfunction | LIGASURE IMPACT | ELECTROSURGICAL, CUTTING & COAGULATION ACCESSORIES, LAPAROSCOPIC | STRYKER SUSTAINABILITY SOLUTIONS LAKELAND
3771031 | 20140424 | Malfunction | LIGASURE IMPACT | ELECTROSURGICAL, CUTTING & COAGULATION ACCESSORIES, LAPAROSCOPIC | STRYKER SUSTAINABILITY SOLUTIONS LAKELAND
3771036 | 20140424 | Malfunction | LIGASURE IMPACT | ELECTROSURGICAL, CUTTING & COAGULATION ACCESSORIES, LAPAROSCOPIC | STRYKER SUSTAINABILITY SOLUTIONS LAKELAND
3771338 | 20140424 | Malfunction | LIGASURE IMPACT | ELECTROSURGICAL, CUTTING & COAGULATION ACCESSORIES, LAPAROSCOPIC | STRYKER SUSTAINABILITY SOLUTIONS LAKELAND
3775146 | 20140428 | Malfunction | PNEUMO SURE INCL. MANUAL: EN | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3775147 | 20140428 | Malfunction | PNEUMO SURE INCL. MANUAL: EN | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3776361 | 20140428 | Malfunction | 8X100MM KII SHIELDED BLADED ACCESS SYS THREADED | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3776425 | 20140428 | Malfunction | KII FIOS 11X100MM Z-THR | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3776443 | 20140428 | No answer provided | KII FIOS 11X100MM Z-THR | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3785285 | 20140501 | Malfunction | 5X100MM KII FIOS FIRST ENTRY ADVANCED FIXATION | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3785623 | 20140501 | Malfunction | 5X100MM KII FIOS FIRST ENTRY ADVANCED FIXATION | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3785630 | 20140501 | Malfunction | 5X100MM KII FIOS FIRST ENTRY ADVANCED FIXATION | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3785773 | 20140502 | Malfunction | 12X100MM KII Z-THREAD CANNULA AND SEAL | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3788714 | 20140505 | Malfunction | KII 12X100 FIOS Z-THREADED | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3788899 | 20140505 | Malfunction | PNEUMO SURE XL HIGH FLOW INSUFFLATOR | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3793000 | 20140429 | Other | HARMONIC ACE LAPAROSCOPIC SHEARS | HARMONIC ACE LAPAROSCOPIC SHEARS | ETHICON
3793017 | 20140429 | Malfunction | ETHICON HARMONIC SCALPEL | ACE LAPAROSCOPIC SHEARS | ETHICON ENDO SURGERY
3813982 | 20140515 | Malfunction | 12X100MM KII SLEEVE ADVANCED FIXATION 12/BX | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3820543 | 20140514 | Injury | MICROLINE SURGICAL INC | RENEW LAPAROSCOPIC FENESTRATED GRASPER FORCEP TIPS | MICROLINE SURGICAL INC
3826788 | 20140516 | Malfunction | ACE LAPAROSCOPIC SHEARS | HARMONIC ACE LAPAROSCOPIC SHEARS | ETHICON ENDO SURGERY LLC
3829852 | 20140523 | Malfunction | 12X100MM KII FIOS FIRST ENTRY ADV FIXATION SYSTEM | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3830449 | 20140523 | Malfunction | KII FIOS 11X100MM Z-THR | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3831298 | 20140524 | Malfunction | PNEUMO SURE XL HIGH FLOW INSUFFLATOR | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3831300 | 20140524 | Malfunction | SIDNE SMART 40L CORE INSUFFLATOR | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3835479 | 20140528 | Malfunction | NA | REPROCESSED UNIPOLAR LAPAROSCOPIC/ENDOSCOPIC INSTRUMENTS | STRYKER SUSTAINABILITY SOLUTIONS LAKELAND
3836732 | 20140528 | Malfunction | 12X60MM KII OPTICAL ACCESS SYSTEM THREADED 6/BOX | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3836806 | 20140528 | Malfunction | KII 5X100 Z-THR CANNULA / SEAL 12/BOX | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3842519 | 20140602 | Injury | PNEUMO SURE XL HIGH FLOW INSUFFLATOR | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3844352 | 20140602 | Malfunction | PNEUMO SURE HIGH FLOW INSUFFLATOR W/ SIDNE (EU1) | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3845858 | 20140603 | Malfunction | 5MM X 38CM REPOSABLE GRASPER CARTRIDGE 10PER BX | LAPAROSCOPIC GRASPER CARTRIDGE, CODE:NWV | APPLIED MEDICAL
3846543 | 20140603 | Injury | NA | LAPAROSCOPIC ACCESSORIES, BABCOCK | STRYKER SUSTAINABILITY SOLUTIONS LAKELAND
3854367 | 20140606 | Injury | PNEUMO SURE HIGH FLOW INSUFFLATOR W/ SIDNE (EU2) | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3854759 | 20140606 | Malfunction | KII 12X100 FIOS Z-THREADED | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3861396 | 20140523 | Malfunction | KII | TROCAR, LAPAROSCOPIC | APPLIED MEDICAL RESOURCES CORP.
3864522 | 20140610 | Injury | HEATED TUBESET WITH RTP FOR PNEUMO SURE (10-PK) | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3867323 | 20140611 | Death | KII 5X100 FIOS Z-THR | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3872743 | 20140515 | Malfunction | SPIDER SURGICAL PLATFORM | LAPAROSCOPIC SINGLE PORT ACCESS | TRANSENTERIX SURGICAL INC.
3873284 | 20140613 | Malfunction | KII 5X100MM SH BLADED Z-THREADED 6/BOX | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3881328 | 20140618 | Malfunction | KII 12X100 FIOS Z-THREADED | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3882316 | 20140618 | Malfunction | 5MM X 38CM REPOSABLE GRASPER CARTRIDGE 10PER BX | LAPAROSCOPIC GRASPER CARTRIDGE, CODE:NWV | APPLIED MEDICAL
3886578 | 20140620 | Injury | 12X100MM KII Z-THREAD ACC SYS W/SHLD BLD OBTURATOR | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3886677 | 20140620 | Malfunction | 5 X 100MM FIOS Z-THR , DUAL PACK | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3893882 | 20140617 | Malfunction | HARMONIC LAPAROSCOPIC SHEARS | LAPAROSCOPIC SHEARS | ETHICON
3895412 | 20140625 | Injury | KII 12X100 FIOS Z-THREADED | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
3896452 | 20140603 | Malfunction | SNOWDEN-PENCER LAPAROSCOPIC RAPTOR GRASPER | LAPAROSCOPIC ACCESSORIES | CAREFUSION 2200 INC
3900841 | 20140627 | Malfunction | PNEUMO SURE HIGH FLOW INSUFFLATOR | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3911946 | 20140630 | Injury | ARROW NON-RADIOPAQUE KARLAN BALLOON CATHETER | LAPAROSCOPIC CHOLANGIOGRAPHY BALLOON CATHETER | TELEFLEX MEDICAL
3916210 | 20140707 | Malfunction | 40 LTR HIGH FLOW INSUFFLATOR (W/POWER CORD & VERESS NEEDLE) | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3916228 | 20140707 | Malfunction | PNEUMO SURE XL HIGH FLOW INSUFFLATOR | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3927437 | 20140616 | Malfunction | ENDO CLINCH 11 5MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENTS | COVIDIEN, FORMERLY USSC PUERTO RICO
3930153 | 20140711 | Malfunction | PNEUMO SURE XL HIGH FLOW INSUFFLATOR | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3930172 | 20140711 | Malfunction | PNEUMO SURE XL HIGH FLOW INSUFFLATOR | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
3931201 | 20140612 | Malfunction | * | TROCAR, LAPAROSCOPIC | STRYKER SUSTAINABILITY SOLUTIONS
3937554 | 20140416 | Malfunction | SURGIWANT II 5MM SUC/IRR W/CAUT /L-HOOK | SINGLE USE LAPAROSCOPIC HAND INTR | COVIDIEN, FORMERLY USSC
3949865 | 20140716 | Injury | ENDOSURGERY ENSEAL STRAIGHT JAW 5 MM DIAMETER 35 CM SHAFT | LAPAROSCOPIC TISSUE SEALER | ETHICON ENDO-SURGERY
3950817 | 20140722 | Injury | GYNECARE MORCELLEX UNKNOWN PRODUCT | LAPAROSCOPIC, GYNECOLOGIC | ETHICON INC.
3959960 | 20140520 | Malfunction | ML 10 CLIP APPLIER | REUSABLE LAPAROSCOPIC CLIP APPLIER | MICROLINE SURGICAL INC.
3961001 | 20140722 | Malfunction | ACE LAPAROSCOPIC SHEARS | LAPAROSCOPIC SHEARS, 5MM X 36CM | ETHICON ENDO-SURGERY
3966578 | 20140725 | Malfunction | HARMONIC ACE LAPAROSCOPIC SHEARS | HARMONIC ACE LAPAROSCOPIC SHEARS | ETHICON ENDO-SURGERY
3983405 | 20140707 | Malfunction | ML 10 CLIP APPLIER | REUSABLE LAPAROSCOPIC CLIP APPLIER | MICROLINE SURGICAL, INC.
3983406 | 20140707 | Malfunction | ML 10 CLIP APPLIER | REUSABLE LAPAROSCOPIC CLIP APPLIER | MICROLINE SURGICAL, INC.
3987010 | 20140804 | Malfunction | ATLAS | TISSUE FUSHION LAPAROSCOPIC INSTR | COVIDIEN
4000362 | 20140811 | Malfunction | HEATED TUBESET WITH RTP FOR PNEUMO SURE (10-PK) | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
4024969 | 20140813 | Malfunction | DIRECT DRIVE | LAPAROSCOPIC CLIP APPLIER | APPLIED MEDICAL
4030287 | 20140715 | Malfunction | OLYMPUS VISERA ELITE VIDEO SYSTEM CENTER | GYNECOLOGIC LAPAROSCOPIC AND ACCESSORIES | OLYMPUS MEDICAL SYSTEMS CORP
4031219 | 20140722 | Malfunction | ENDO RETRACT II 10MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY USSC
4041881 | 20140807 | Malfunction | ENDO CLINCH* II 5MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY USSC PUERTO RICO
4048054 | 20140811 | Malfunction | ENDO CLINCH II 5MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY USSC PUERTO RICO, INC.
4048057 | 20140811 | Malfunction | ENDO RETRACT II 10MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY USSC PUERTO RICO, INC.
4048064 | 20140811 | Malfunction | ENDO CLINCH II 5MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY USSC PUERTO RICO, INC.
4048074 | 20140811 | Malfunction | ENDO RETRACT II 10MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY USSC PUERTO RICO, INC.
4055750 | 20140828 | Injury | ROBOTIC SURGICAL DEVICE | LAPAROSCOPIC
4058595 | 20140902 | Malfunction | DIRECT DRIVE | LAPAROSCOPIC CLIP APPLIER | APPLIED MEDICAL RESOURCES CORP.
4059537 | 20140829 | Malfunction | DIRECT DRIVE | LAPAROSCOPIC CLIP APPLIER | APPLIED MEDICAL
4065874 | 20140905 | Malfunction | 12X130MM KII BALLOON BLNT TIP SYS | LAPAROSCOPIC TROCAR, CODE:GCJ | APPLIED MEDICAL
4068447 | 20140829 | Malfunction | NA | LAPAROSCOPIC SCISSORS | STERILMED, INC.
4076702 | 20140826 | Other | ML 10 CLIP APPLIER | REUSABLE LAPAROSCOPIC CLIP APPLIER | MICROLINE SURGICAL, INC.
4077022 | 20140819 | Malfunction | ENDO DISSECT 5 MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INST | COVIDIEN, FORMERLY USSC PUERTO RICO, INC.
4077575 | 20140822 | Malfunction | BIPOLAR LAPAROSCOPIC LOOP | BIPOLAR LAPAROSCOPIC LOOP | GYRUS ACMI INC.
4105441 | 20140922 | Malfunction | ENDO CLINCH* II 5MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENTS | COVIDIEN, FORMERLY USSC PUERTO RICO INC
4105497 | 20140922 | Malfunction | SURGIWAND* II 5MM W/CAUT/L-HOOK/TUBE/GFS | SINGLE USE LAPAROSCOPIC HAND INSTRUMENTS | COVIDIEN, FORMERLY USSC PUERTO RICO INC
4117824 | 20140725 | Malfunction | ENDO RETRACT II 10MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY USSC PUERTO RICO, INC.
4118674 | 20140730 | Malfunction | ENDO RETRACT II 10MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY USSC PUERTO RICO, INC.
4118710 | 20140925 | Malfunction | SURGIWAND*II 5MM SUC/IRR W/CAUT/L-HOOK | SINGLE USE LAPAROSCOPIC HAND INSTRUMENTS | COVIDIEN, FORMERLY USSC PUERTO RICO INC
4125297 | 20140929 | Malfunction | ENDO SHEARS* 5MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENTS | COVIDIEN, FORMERLY USSC PUERTO RICO INC
4126841 | 20140929 | Malfunction | NA | ELECTROSURGICAL, CUTTING & COAGULATION ACCESSORIES, LAPAROSCOPIC & ENDOSCOPIC | STRYKER SUSTAINABILITY SOLUTIONS LAKELAND
4127154 | 20140929 | Injury | PNEUMO SURE XL HIGH FLOW INSUFFLATOR | INSUFFLATOR, LAPAROSCOPIC | STRYKER ENDOSCOPY-SAN JOSE
4128883 | 20140917 | Injury | ENDO RETRACT II 10MM INSTURMEN | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN
4136178 | 20141002 | Malfunction | NA | LAPAROSCOPIC & ENDOSCOPIC REPROCESSED | STRYKER SUSTAINABILITY SOLUTIONS LAKELAND
4138652 | 20141003 | Malfunction | ENDO MINI-SHEARS* 5MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENTS | COVIDIEN, FORMERLY USSC PUERTO RICO INC
4154843 | 20140924 | Other | INSULCAN | COAGULATOR, LAPAROSCOPIC, AND ACCESSORIES | MOBILE INSTRUMENT SERVICE AND REPAIR, INC
4161501 | 20140723 | Malfunction | ENDO RETRACT II 10MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY USSC PUERTO RICO
4168330 | 20140820 | Injury | D-FLEX TRIANGULAR RETRACTION 80MM 5MM | LAPAROSCOPIC, GENERAL & PLASTIC SURGERY | CAREFUSION
4168343 | 20140820 | Injury | D-FLEX TRIANGULAR RETRACTOR 80MM 5MM | LAPAROSCOPIC, GENERAL & PLASTIC SURGERY | CAREFUSION
4168347 | 20140820 | Injury | D-FLEX TRIANGULAR RETRACTOR 80MM 5MM | LAPAROSCOPIC, GENERAL & PLASTIC SURGERY | CAREFUSION
4168604 | 20140724 | Malfunction | ENDO RETRACT*MAXI 10MM INST(ROTICULATOR) | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY USSC PUERTO RICO, INC.
4177493 | 20140916 | Malfunction | ENDO SHEARS 5MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY USSC PUERTO RICO, INC.
4177511 | 20140916 | Malfunction | ENDO SHEARS 5MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, USSC PUERTO RICO, INC.
4177513 | 20140916 | Malfunction | ROTICULATOR ENDO GRASP 5MM W/SPIN LOCK | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY USSC PUERTO RICO
4209324 | 20140918 | Malfunction | ENDO PEANUT 5MM DEVICE (3 PER PACK) | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY US SURGICAL
4232749 | 20140912 | Malfunction | ENDO RETRACT II 10MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY USSC PUERTO RICO
4232759 | 20140912 | Malfunction | ENDO RETRACT* II 10MM INSTRUMENT | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN, FORMERLY USSC PUERTO RICO, INC.
4289701 | 20140925 | Malfunction | ULTRASONIC CURVED SHEARS | LAPAROSCOPIC, ACCESSORIES | STRYKER CORP
4353024 | 20140528 | Malfunction | LIGASURE ADVANCE LAPAROSCOPIC DEVICE | LAPAROSCOPIC DEVICE | COVIDIEN
4528168 | 20140721 | Malfunction | VITAL VUE EXT YANK W/EXT 12FR METAL SUCT | SINGLE USE LAPAROSCOPIC HAND INSTRU | COVIDIEN, FORMERLY NELLCOR PURITAN BENNETT MEXICO, S.A. DE C
5732096 | 20140811 | Malfunction | ENDO CATCH GOLD 10MM SPECIMEN POUCH INTL | SINGLE USE LAPAROSCOPIC HAND INSTRUMENT | COVIDIEN