## All Reports
report_number | date_received | event_type | report_source_code | device_date_of_manufacturer | brand_name | generic_name | manufacturer_d_name | device_class | device_operator | patient_sequence_number | patient_sequence_treatment | event_description | manufacturer_narrative | adverse_event_flag | product_problem_flag | date_of_event | reprocessed_and_reused_flag | removal_correction_number | year | period | year_month
MW1010756 | 1997-02-19 | M, a, l, f, u, n, c, t, i, o, n | Voluntary report |  | PARAGARD | INTRAUTERINE DEVICE | ORTHO PHARMACEUTICAL CORP. |  | LAY USER/PATIENT | ['Other'] | [''] | INTRAUTERINE DEVICE (IUD) INSERTED IN 1989 AT ANOTHER CLINIC. INITIALLY, PT WAS INFORMED IN 1989 THAT IUD MAY BE EFFECTIVE UNTIL 1993 WHEN IT WOULD HAVE TO BE REPLACED. IN 1993 THE PRODUCT HAD BEEN CERTIFIED TO EXTEND PERIOD OF EFFECTIVENESS TO 8 YRS, SO PT WAS TOLD IUD COULD REMAIN INSERTED UNTIL 1997. PT DEVELOPED IRREGULAR BLEEDING AND DESIRED REPLACEMENT OF IUD. WHEN IUD WAS REMOVED AND INSPECTED, IT WAS NOTED TO HAVE ONE-TWO PIECES OF COPPER MISSING FORM THE BODY OF THE IUD. |  | N | Y | 19970116 |  |  | 1997 | Before MDL | 1997-02
MW1011463 | 1997-06-06 | N, o, , a, n, s, w, e, r, , p, r, o, v, i, d, e, d | Voluntary report |  | PARAGARD COPPER IUD | INTRAUTERINE DEVICE | UNK |  | LAY USER/PATIENT | [''] | [''] | STRING WAS TANGLED IN LUMEN & WOULD NOT ALLOW IUD TO BE INSERTED. NURSE TRIED TWICE TO INSERT. |  | N | * |  |  |  | 1997 | Before MDL | 1997-06
3243367 | 2013-07-08 | I, n, j, u, r, y | User Facility report |  | PARAGARD | PARAGARD 380A | TEVA PHARMACEUTICAL |  | HEALTH PROFESSIONAL | ['Required Intervention'] | [''] | PATIENT PRESENTED TO OFFICE WITH (B)(4) PARAGARD IUD IN SITU REQUESTING TO HAVE IUD REMOVED AS SHE HAD BECOME PREGNANT AND WISHES TO TERMINATE PREGNANCY. IUD REMOVED WITH MODERATE AMOUNT TRACTION AND FOUND TO HAVE MISSING CROSS ARM, PATIENT HAD SMALL AMOUNT OF BLEEDING THEN STOPPED QUICKLY. |  | N | Y | 20130625 | N |  | 2013 | Before MDL | 2013-07
3979277 | 2014-07-17 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE, INTRAUTERINE | TEVA PHARMACEUTICALS USA |  | PHYSICIAN | [''] | [''] |  |  | N | Y | 20140410 |  |  | 2014 | Before MDL | 2014-07
3979306 | 2014-07-17 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE, INTRAUTERINE | TEVA PHARMACEUTICALS USA |  | PHYSICIAN | [''] | [''] |  |  | N | Y | 20140527 |  |  | 2014 | Before MDL | 2014-07
3979343 | 2014-07-17 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE, INTRAUTERINE | TEVA PHARMACEUTICALS USA |  | PHYSICIAN | [''] | [''] |  |  | N | Y | 20140314 |  |  | 2014 | Before MDL | 2014-07
3979376 | 2014-07-17 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE, INTRAUTERINE | TEVA PHARMACEUTICALS USA |  | PHYSICIAN | [''] | [''] |  |  | N | Y |  | N |  | 2014 | Before MDL | 2014-07
4501207 | 2015-01-30 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE, INTRAUTERINE | TEVA PHARMACEUTICALS USA |  | HEALTH PROFESSIONAL | [''] | [''] | UPON REMOVAL OF IUD, NOTED COPPER COIL MISSING FROM STEM OF IUD. COPPER COILS INTACT ON "T" ARMS OF IUD.======================MANUFACTURER RESPONSE FOR PARAGARD IUD, (BRAND NOT PROVIDED) (PER SITE REPORTER).======================UNKNOWN. LEADERSHIP HAS BEEN IN CONTACT WITH REP. |  | N | Y | 20150129 |  |  | 2015 | Before MDL | 2015-01
4501172 | 2015-01-30 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE INTRAUTERINE | TEVA PHARMACEUTICALS USA |  | HEALTH PROFESSIONAL | [''] | [''] | IUD WAS REMOVED PER PATIENT REQUEST WITH EASE. SHAFT OF DEVICE JUST PARTIALLY COVERED BY COOPER COILS(~2/3) OF SHAFT.======================MANUFACTURER RESPONSE FOR PARAGARD IUD T380A, (BRAND NOT PROVIDED) (PER SITE REPORTER).======================LEADERSHIP IS IN CONTACT WITH REP FOR RESOLUTION. |  | N | Y | 20150109 |  |  | 2015 | Before MDL | 2015-01
4501132 | 2015-01-30 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE INTRAUTERINE | TEVA PHARMACEUTICALS USA |  | PHYSICIAN | [''] | [''] | UPON REMOVAL, THE IUD HAD A MISSING ARM, COPPER INTACT TO REMAINING ARM AND STEM, STRINGS ATTACHED.======================MANUFACTURER RESPONSE FOR PARAGARD IUD T380, (BRAND NOT PROVIDED) (PER SITE REPORTER).======================LEADERSHIP IN CONTACT WITH REP REGARDING ISSUE. |  | N | Y | 20150108 |  |  | 2015 | Before MDL | 2015-01
4501085 | 2015-01-30 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE INTRAUTERINE | TEVA PHARMACEUTICALS USA |  | HEALTH PROFESSIONAL | [''] | [''] | PATIENT CAME IN FOR IUD REMOVAL,WHEN IUD WAS REMOVED, ONE ARM OF THE IUD WAS MISSING.======================MANUFACTURER RESPONSE FOR PARAGARD IUD T380A, (BRAND NOT PROVIDED) (PER SITE REPORTER).======================LEADERSHIP WORKING WITH REP TO RESOLVE ISSUE. |  | N | Y | 20141229 |  |  | 2015 | Before MDL | 2015-01
4501053 | 2015-01-30 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE INTRAUTERINE | TEVA PHARMACEUTICALS USA |  | HEALTH PROFESSIONAL | [''] | [''] | IUD REMOVED AND WAS MISSING ONE ARM.======================MANUFACTURER RESPONSE FOR PARAGARD IUD T380A, (BRAND NOT PROVIDED) (PER SITE REPORTER).======================LEADERSHIP WORKING WITH REP TO RESOLVE. |  | N | Y | 20140916 |  |  | 2015 | Before MDL | 2015-01
4500949 | 2015-01-30 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE INTRAUTERINE | TEVA PHARMACEUTICALS USA |  | HEALTH PROFESSIONAL | [''] | [''] | PATIENT HAD PARAGARD IUD IN SITU FOR 8.5 YEARS. PRESENTED TO CLINIC FOR IUD REMOVAL. UPON REMOVAL OF DEVICE, NOTED THE COPPER COIL WAS MISSING FROM THE LONG PORTION OF IUD. COPPER WAS PRESENT ON "T" ARMS OF DEVICE AND BOTH ARMS WERE INTACT.======================MANUFACTURER RESPONSE FOR PARAGARD IUD T380A, (BRAND NOT PROVIDED) (PER SITE REPORTER).======================LEADERSHIP WORKING WITH REP TO RESOLVE ISSUE. |  | N | Y | 20140807 |  |  | 2015 | Before MDL | 2015-01
4500909 | 2015-01-30 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE INTRAUTERINE | TEVA PHARMACEUTICALS USA |  | HEALTH PROFESSIONAL | [''] | [''] | IUD REMOVED, ONE ARM MISSING FROM THE DEVICE.======================MANUFACTURER RESPONSE FOR PARAGARD IUD T380A, (BRAND NOT PROVIDED) (PER SITE REPORTER).======================LEADERSHIP IS WORKING WITH REP. |  | N | Y | 20140328 |  |  | 2015 | Before MDL | 2015-01
4500903 | 2015-01-30 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE INTRAUTERINE | TEVA PHARMACEUTICALS USA |  | HEALTH PROFESSIONAL | [''] | [''] | WHEN IUD REMOVED, NOTICED ONE ARM OF THE IUD WAS MISSING.======================MANUFACTURER RESPONSE FOR PARAGARD IUD T380A, (BRAND NOT PROVIDED) (PER SITE REPORTER).======================LEADERSHIP WORKING WITH REP TO RESOLVE. |  | N | Y | 20140326 |  |  | 2015 | Before MDL | 2015-01
4500987 | 2015-01-30 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE INTRAUTERINE | TEVA PHARMACEUTICALS USA |  | HEALTH PROFESSIONAL | [''] | [''] | PATIENT CAME TO HAVE IUD REMOVED DUE TO CRAMPING. IUD STRINGS WERE VISUALIZED AND IUD WAS REMOVED PER PROTOCOL. IUD CAME OUT WITH NO ARMS ATTACHED, ONLY A ROD.======================MANUFACTURER RESPONSE FOR PARAGARD IUD T380A, (BRAND NOT PROVIDED) (PER SITE REPORTER).======================LEADERSHIP WORKING WITH REP TO RESOLVE ISSUE. |  | N | Y | 20140821 |  |  | 2015 | Before MDL | 2015-01
5515917 | 2016-03-22 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE, INTRAUTERINE, CONTRACEPTIVE | TEVA PHARMACEUTICALS USA |  | I | [''] | [''] | THE IUD MADE OF COPPER BROKE APART IN THE PATIENT. DURING OUT-PATIENT SURGERY, THE DEVICE WAS REMOVED . |  | N | Y | 20160307 | N |  | 2016 | Before MDL | 2016-03
8304573 | 2019-02-05 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD IUD | DEVICE, INTRAUTERINE, CONTRACEPTIVE AND INTRODUCER | COOPERSURGICAL, INC. |  | I | [''] | [''] | ON REMOVAL, IUD FOUND TO BE MISSING AN ARM. ARM RETRIEVED. UNKNOWN IF ARM BROKE PRIOR TO OR DURING REMOVAL. |  | N | Y | 20181217 | N |  | 2019 | Before MDL | 2019-02
8357239 | 2019-02-21 | I, n, j, u, r, y | User Facility report |  | PARAGARD | DEVICE, INTRAUTERINE, CONTRACEPTIVE | COOPERSURGICAL, INC. |  | I | ['Other', ' R'] | [''] | A PARAGARD COPPER IUD THAT WAS PLACED TEN YEARS AGO WAS REMOVED WITH THE ARM BREAKING OFF IN THE UTERINE WALL. |  | Y | Y | 20190205 | N |  | 2019 | Before MDL | 2019-02
8362454 | 2019-02-22 | I, n, j, u, r, y | User Facility report |  | PARAGARD | INTRAUTERINE, DEVICE, CONTRACEPTIVE | COOPERSURGICAL, INC. |  | I | ['Other', ' R'] | [''] | THE PARAGARD COPPER IUD PLACED IN 2011 WAS REMOVED A FEW MONTHS AGO WITH ONE ARM BREAKING OFF IN UTERINE WALL. |  | Y | Y | 20181116 | I |  | 2019 | Before MDL | 2019-02
10384297 | 2020-08-10 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE, INTRAUTERINE, CONTRACEPTIVE AND INTRODUCER | COOPERSURGICAL, INC. |  | HEALTH PROFESSIONAL | [''] | [''] | WHEN DOCTOR REMOVED IUD, IT BROKE. ARM OF IUD IS STILL IN PATIENT. PATIENT WAS IN CAR ACCIDENT WITH PELVIC INJURY IN 2020. |  |  | Y | 20200709 | N |  | 2020 | Before MDL | 2020-08
10384231 | 2020-08-10 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE, INTRAUTERINE, CONTRACEPTIVE AND INTRODUCER | COOPERSURGICAL, INC. |  | I | [''] | [''] | PATIENT HAD IUD INSERTED SIX YEARS AGO AND CALLED THE OFFICE AFTER HAVING FOUR POSITIVE HOME PREGNANCY TESTS. PATIENT CAME INTO OFFICE AND URINE PREGNANCY TEST WAS DONE WITH A POSITIVE RESULT. PATIENT WAS EXAMINED BY DOCTOR WHO DID AN ULTRASOUND TO SEE PLACEMENT OF IUD. ULTRASOUND SHOWED NO INTRAUTERINE PREGNANCY SEEN AND IUD WAS IN CERVICAL CANAL. DOCTOR THEN REMOVED IUD AND FOUND THAT IUD WAS BROKEN. |  |  | Y | 20200731 | N |  | 2020 | Before MDL | 2020-08
13847896 | 2022-03-22 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DEVICE, INTRAUTERINE, CONTRACEPTIVE AND INTRODUCER | COOPERSURGICAL, INC. |  | HEALTH PROFESSIONAL | [''] | [''] | NARRATIVE FROM STAFF: PATIENT HAD COPPER IUD (INTRAUTERINE DEVICE) IN FOR 10 YEARS, THINKS SHE IS STARTING MENOPAUSE SYMPTOMS. PATIENT TOLERATED REMOVAL WELL, BUT UPON REMOVAL THE IUD WAS BROKEN WITH BOTH ARMS MISSING. NURSE PRACTITIONER WAS ABLE TO RETRIEVE ONE OF THE ARMS BUT COULD NOT FIND THE OTHER ARM. THE NURSE PRACTITIONER BRIEFLY TRIED TO USE THE CYTOBRUSH TO SWEEP THE OS BUT THIS WAS PAINFUL AND SEEMED FUTILE. PATIENT WAS REFERRED TO OB/GYN FOR REMOVAL AND IS SCHEDULED. |  | N | Y | 20220218 | N |  | 2022 | After MDL | 2022-03
15469954 | 2022-09-23 | M, a, l, f, u, n, c, t, i, o, n | User Facility report |  | PARAGARD | DIAPHRAGM, CONTRACEPTIVE (AND ACCESSORIES) | COOPERSURGICAL, INC. |  | HEALTH PROFESSIONAL | ['Other'] | [''] | ARM BROKE OFF PARAGARD INTRAUTERINE DEVICE (IUD) UPON REMOVAL AND REMAINED IN UTERUS. PT WILL NEED ADDITIONAL ULTRASOUND TO ASSESS LOCATION OF BROKEN RETAINED IUD ARM. |  | N | Y | 20220907 | N |  | 2022 | After MDL | 2022-09

## Monthly Summary
year_month | count | date
1997-02 | 1 | 1997-02-01
1997-06 | 1 | 1997-06-01
2013-07 | 1 | 2013-07-01
2014-07 | 4 | 2014-07-01
2015-01 | 9 | 2015-01-01
2016-03 | 1 | 2016-03-01
2019-02 | 3 | 2019-02-01
2020-08 | 2 | 2020-08-01
2022-03 | 1 | 2022-03-01
2022-09 | 1 | 2022-09-01

## Yearly Summary
year | count
1997 | 2
2013 | 1
2014 | 4
2015 | 9
2016 | 1
2019 | 3
2020 | 2
2022 | 2

## Event Types
Event Type | Count
M, a, l, f, u, n, c, t, i, o, n | 20
I, n, j, u, r, y | 3
N, o, , a, n, s, w, e, r, , p, r, o, v, i, d, e, d | 1

## Before After MDL
period | count
After MDL | 2
Before MDL | 22